FIRE PRECAUTIONS

LOG BOOK

Address of Premises……………………………………………………………………………… ……………………………………………………………………………………………………………… ……………………………………………………………………………………………………………… ……………………………………………………………………………………………………………… Location of Log Book……………………………………………………………………………..

Contents of Log Book

Useful Telephone contacts									2

Visits by Fire Brigade Officer								3

Emergency Lighting Systems – Record of Tests					4

Fire Instructions and Drills – Record of when given					5

Fire Extinguishers – Record of tests and inspections					6

Fire Alarm System – Record of tests							7

Emergency Devices – Record of tests							8

Useful Telephone Contacts

| Fire and Rescue Service Headquarters | 01743 260200 |
| --- | --- |
| Business Fire Safety Office | 01743 260260 businessfiresafety@shropshirefire.gov.uk |
| Emergency lighting – Engineer |  |
| Fire Extinguisher – Engineer |  |
| Fire Alarms – Engineer |  |
| Building Maintenance |  |

Visits by Fire Service Officer

| Date | Inspecting Officer | Officer’s Signature | Comments |
| --- | --- | --- | --- |

Emergency Lighting System – Record of Tests

Routine inspection and servicing as recommended in British Standard BS5266:8-2004, to include daily, monthly and annual testing of the emergency lighting system

| Date | Satisfactory Yes / No | Required Action | Signature |
| --- | --- | --- | --- |

Fire Safety Training and Drills

| Date | Instruction Duration | Fire Drill Evacuation Time | Person Receiving Training / Drill | Signature of Instructor etc. |
| --- | --- | --- | --- | --- |

FireFighting Equipment – Record of Tests and Inspections

Routine inspection and servicing as recommended in British Standard BS5306-3:2009

| Date | Location or Number | Inspected or Tested | Satisfactory Yes / No | Action Required | Signature |
| --- | --- | --- | --- | --- | --- |

Fire Alarm System – Record of Tests

Routine inspection and servicing as recommended in British Standard BS5839:1-2013, including a weekly test of the fire alarm system by operation of a different manual call point each week.

| Date | Fire Alarm | Automatic Door Releases | Automatic Detectors | Action Required | Signature |
| --- | --- | --- | --- | --- | --- |
|  | Call Point Location or Number | Satisfactory Yes / No | Satisfactory Yes / No | Location or Number | Satisfactory Yes / No |  |  |

Emergency Devices – Record of Tests

| Date | Items Tested etc. | Satisfactory Yes / No | Action Required | Signature |
| --- | --- | --- | --- | --- |

Training Record

Fire Instruction and Drills

Name:…………………………………………….	Position:……………………………………….

Date of Induction and Training:…………………………………………………………………….

| Date | Tick Box |  |
| --- | --- | --- |
|  |  | Action to be taken on discovery of fire |
|  |  | Action to be taken on hearing the alarm |
|  |  | Raising the alarm, including location of call points |
|  |  | The correct method of calling the Fire and Rescue Service |
|  |  | Location and use of Fire Fighting Equipment |
|  |  | Knowledge of escape routs |
|  |  | Appreciate the importance of Fire Resisting Doors and the need to close such doors during a fire or when the alarm sounds |
|  |  | Stop machines or processes and isolate power before leaving the building if appropriate |
|  |  | Correct evacuation of buildings to Assembly Points |
|  |  | Staff with Specific Responsibilities. State responsibility and type of additional training taken. ……………………………………………………………………………. ……………………………………………………………………………. ……………………………………………………………………………. |

| Date | Tick Box |  |
| --- | --- | --- |
|  |  | Fire / Evacuation Drill (6 monthly) |

Training Received:…………………………………………………..	Date:………………………..

(Signature)

Trained By:……………………………………………………………	Date:………………………..